## Medical Supplies
Medical Supplies |  | PRODUCT DETAILS |  |  | PRICE |  | TRANSPORT |  |  | 2020-03-20 |  | 8.5
Reference | Picture | Name | Specifications | Certifications & Test reports | MOQ | FOB Unit Price (USD) | Pieces / cartons | Carton Size | Carton weight (KG) | Comments
HC005 |  | 4 Layers KN95 Respirator | Size: 14.5 x 13cm Color：White or Blue Material：2 x meltblown 25GSM + 2 x nonwoven 38GSM NIOSH test report filtration effiiciency above 98% + particule penetration above 1,02% + initial airflow resistance (mm H2O) above 6,6 | FDA, NIOSH N95 Test Report, GB2626 | 50000 | 2.5 | 200 | 34cm x 20.5cm x 22.5cm | 1.88
HC014 |  | 3PLY Disposable Mask | Size: 17.5*9.5cm Disposable,single-use,breathable,light and environment-friendly, Elastic earloop with dural point attachment helps provide a secure seal, Adjustable nosepiece for extra comfort. 10 pieces per bags 1 x meltblown 25GSM + 2 x non woven 25GSM PFE:≧90% BFE:≧95% | FDA, Surgical Mask CE MDD | 200000 | 0.33 | 2000 | 58 cm x 38.6 cm x 44.2 cm | 9.2
HC012 |  | Examination Gloves | Powder free disposable, non sterile, PACKING: 100 pieces / Packet | EN455, EN374 | 500000 | 0.2 | 1000 | 31,5 x 25,8 x 24,5 | 4.5
HC046 |  | Medical Non Contact Thermometer | 1. Advanced infrared technology from leading IC provider , Non contact forehead testing, extremely hygeian and safe. 2. Two temperature units switchable : °C / °F 3. Applicable for body temperature and object temperature 4. Capable of 32sets temperature data storing 5. Measurement range: 5.0°C-120.0°C /41.0°F – 248.0 °F 6. Precision :±0.2°C /±0.4°F 7.Display resolution:0.1°C/0.1°F 8. 0.5 second quick mearsuring time 9.10 seconds automatic shutdown function 10.Operational conditions:10°C-40°C (50°F- 104°F)/15-95%RH 11.Operational distance: 3-5 cm 12.Battery:Changeable for two 1.5V triple A batteries 13.Battery life :More than 1000 times 14.Two backlight display | CE MDD, Factory profil | 50000 | 35 | 50 | 76 x 39,2 x 26,5 | 10.2
HC038 |  | Medical Non Contact Thermometer | Function : Temperature Device, Instrument Classification : Class II, Display : LCD Show ,Accuracy : ±0.2℃, Fast Testing Time: ≤2S, Memory Storage: 32 Sets Data, Automatic Shutdown ≤12S, Measuring Method：Non-Contact Forehead /Ear, Measuring Distance : 10mm to 30mm, Voice&LCD Backlight Fever Alarm, Application : Adult/Baby Available, Battery: 2*AAA, can be used for more than 3000 times, Mute Button, Weight: 80g (Without Battery), Product Dimension : 147*41*123MM | CE, Registration License, Factory profile | 500 | 50 | 50 | 67 x 24,5 x 42,1 cm | 12.5
HC013 |  | Medical Non Contact Thermometer | Size: 153*41*44mm Main Features : reading memory, dual scale, cpmpact ergonomic size, beeps when ready, jumbo display, replaceable battery, auto-off, 3 seconds reading Measuring site :Forehead(Forehead Mode) Measuring range: 2 - 3cm Forehead mode: 34.0℃~43.0℃(93.2℉~109.4℉), Object mode: 0℃~100℃(32℉~212℉), Room temperature: 0℃~50℃(32℉~122℉) Laboratory accuracy: Forehead mode:±0.2℃ (0.4℉) during 35.5℃~42.0℃ (95.9℉~107.6℉) at 15℃~35℃ (59.0℉~95.0℉) operating temperature range, ±0.3℃ (0.5℉) for other measuring and operating temperature range Object mode: ±4% or ±2℃(4℉) whichever is greater, Room temperature: ±2℃(±4℉), Display resolution: 0.1℃ or 0.1℉, Measure time: Approximately 3 second Operating temperature range: Forehead/Object mode:10℃~40℃(50℉~104℉), 15%~85%RH, non-condensing, Atmospheric Pressure : 700hPa ~ 1060hPa Storage and transport: temperature range: -25℃~ 55℃ (-13℉~131℉), 15%~95%RH, non-condensing Atmospheric Pressure : 700hPa ~ 1060hPa Warranty 2 year, Clinical accuracy: Clinical bias: -0.06℃(-0.1℉), Clinical repeatability: 0.13℃(0.23℉), Limits of agreement: 0.85℃(1.53℉), Ingress protecting rating: IP22 | FDA, CE MDD, CE EMC, Product Registration, License Registration, QMS, Factory Profile | Minimum 5000 to 10 000 maximum | 45 | 100 | 54,5cm x 49,0cm x 38,0cm | 13.5
HC047 |  | Face shield | 32 x 22 cm Polymer ,sponge and elastic band | CE, FDA | 100000 | 2 | 200 | 50 x 50 x 50 cm | 7
HC062 |  | Ventilator | Bi-level Mode: CPAP, S, T, ST, VGPS Pressure: 4-25 cm H2O Trigger adjustment Cycle adjustment Sloop adjustment Noise less than 32 dB(A) Trolley with full face mask and integrated humidifier and SD card | IS013485 /CE /CFDA approved | 10 | 4000 | 1 | 2 CTNS 48.5×32.5× 21.5cm 80×45×30cm | 23
HC063 |  | Ventilator | Bi-level Mode: CPAP, S, T, ST, VGPS Pressure: 4-30 cm H2O Trigger adjustment Cycle adjustment Sloop adjustment Noise less than 32 dB(A) Trolley with full face mask and integrated humidifier and SD card | IS013485 /CE /CFDA approved | 10 | 5000 | 1 | 2 CTNS 48.5×32.5× 21.5cm 80×45×30cm | 23
HC064 |  | Ventilator | Bi-level Mode: CPAP, S, T, ST, VGPS Pressure: 4-30 cm H2O Trigger adjustment Cycle adjustment Sloop adjustment Noise less than 32 dB(A) Trolley with full face mask and integrated humidifier and SD card | IS013485 /CE /CFDA approved | 10 | 5500 | 1 | 2 CTNS 48.5×32.5×21.5cm 80×45×30 cm | 23
HC065 |  | Ventilator With Independent Humidifier | Bi-level Mode: CPAP, S, T, ST, VGPS Pressure: 4-30 cm H2O Trigger adjustment Cycle adjustment Sloop adjustment Noise less than 32 dB(A) With pressure and flow waveform dispaly Independent medical grade humidifier Trolley with full face mask and independent super humidifier SD card | IS013485 /CE /CFDA approved | 10 | 6500 | 1 | 3 CTNS 48.5×32.5×21.5cm 37×24×17cm (Cart Parts) 90×52.8×21cm(Trolley) | 28
HC020 |  | 60ML, 75% Alcohol Hand Sanitizer | Non-latex glove compatible Tabletop pump bottle | GMP, CE, MSDS | 50000 | 1 | 162 | 34,5cm x 34,5cm x 18,8 cm | 11.5
|  | 300ML, 75% Alcohol Hand Sanitizer |  |  | 50000 | 1.75 | 36 | 57cm x 26cm x 17 cm | 15.7
|  | 500ML, 75% Alcohol Hand Sanitizer |  |  | 50000 | 2.1 | 32 | 57 x 28.5 x 17.3 | 17
HC031 |  | SMS Isolation Gown | Disposable gown that features elastic cuffs With waist and neck ties Blue 120 x 137 cm 38 gsm , SMS | CE DOC, ISO13485 | 20000 | 50 | 100 | 39 x 31 x 52 cm | 10 |  | On big quantities more lines can be open to provice higher capacity per day and then reduce delivery time
HC018 |  | ICU protective clothing | Elasticated wrists, ankles and face, hooded coverall. Longer zipper extends to nose for complete protection. High gram-weight composite nonwovens (SMS) of 78g/m2, soft, lightweight and good air permeability, ASTM F1670-98 Test Method for Penetration Resistance of Synthetic Blood, ASTM F1671-97A Test Method for Penetration of Bloodborne Pathogens, ASTM F903-1999 Test Method for Liquid Penetration of Protective Clothing Materials, S to XXXL | CE, FDA | 10000 | 20 | 30 | 52 x 40 x 52 cm | 10.6 |  | 9.86
HC019 |  | Isolation Coverall | High gram-weight composite nonwovens (SMS) of 68g/m2, Lightweight and good air permeability, ASTM F1670-98 Test Method for Penetration Resistance of Synthetic Blood, ASTM F1671-97A Test Method for Penetration of Bloodborne Pathogens , ASTM F903-1999 Test Method for Liquid Penetration of Protective, Clothing Materials, S to XXXL | CE. FDA, ISO13485 | 10000 | 18 | 50 | 59 x 41 x 50 | 11 |  | 10.4
HC045 |  | Medical Safety Glasses | Frame material : food-grade PVC Lens material: Acetate High impact, anti-scrathes, anti-fog. Anti-virus, totally enclosed | Meet with CE EN166 and ANSI Z87.1 standard | 50000 | 3 | 200 | 71 x 29 x 40 cm | 14
HC036 |  | Disposable Shoe Cover | 15 x 39 cm , CPE | CE | 200000 | 0.1 | 2000 | 45 x 18 x 34 cm | 5.4
HC017 |  | 2019-nCoV Ab Test (Colloidal Gold) | 40 tests/box, 20 boxes (260*130*65mm) The clinical auxiliary diagnosis of 2019-nCoV requires simple, economical and feasible methods. The human immune system can produce specific IgM and IgG antibodies after virus infection. IgM is the earliest antibody that appears upon the first immune response. The detection of IgM antibody indicates a recent infection and can be used as auxiliary diagnosis of early infection. IgG is produced later and lasts long, which can be used as an indicator of previous or secondary infection. The kit is intended for the qualitative detection of IgM and IgG antibodies against 2019 Novel Coronavirus (2019-nCoV) in human serum/plasma/venous whole blood specimen and for the auxiliary diagnosis of 2019-nCoV infection. The confirmation or exclusion of infection will be combined with the patient’s clinical manifestations or further other methods. | NMPA registration, CE IVDD, ISO13485 | 1000 | 6 | 20 | 55 x 38.5 x 295 cm | 12.5
HC098 |  | Wipes | 75% alcohol Wipes base on 45gsm 80%polyester / 20%voiscose plain Spunlace nonwoven 15 X 20 CM 60 PCS / pack | BSCI,CE GMP,FDA | 50000 | 1.8 | 24 | 43 x 34 x 17 cm | 9.3 |  | 68000